## Equations
| Source: Randy Culp. |  | Site
| Compiled by: Hans Sassenburg. |  | Email
| Latest update: 23th February, 2024. |  | V1.1
This spreadsheet is an implementation of the powerful and very practical telescope equations defined and derived by Randy Culp (see Source). The equations with some additions are shown below. It is important to note, that telescope specifications (including eyepiece and multiplier) can be derived from a limited number of input parameters (shown in yellow below): the operating points including some special cases. In the following two worksheets, a user is enabled to see from values for the input parameters what the "yield" is in terms of magnitude, eyepiece focal length, exit pupil diameter and surface brightness. This allows one to quickly assess whether a combination of telescope with chosen eyepiece and multiplier makes sense or not. For feedback and/or suggestions, please feel free to contact me (see Email).
Note that all non-input cells in this spreadsheet are not protected, so make sure you do not accidentally modify them, as this may affect calculations. But, feel free to modify this spreadsheet according to your own views/experiences. Again, for feedback and/or suggestions, please feel free to contact me (see Email).
| Symbol | Meaning | Equation | Explanation
Telescope parameters | DO | Diameter of the objective | - | The "objective" can be either the large lens at the front of the telescope (in a refractor) or the large mirror at the back of the telescope (in a reflector).
| fR | f-Ratio | - | The ratio of the focal length to the diameter of the objective. so it is the number of lens diameters from the lens to its focal point. This is written "f/" and then the value (or along with the diameter of the objective to describe the scope).
| fO | Focal length of the objective | fo = fR x Do | The distance from the center of the objective lens (or mirror) to the point at which incoming light is brought to a focus. This diameter can be calculated directly from the 2 basic parameters of a telescope.
Eyepiece parameters | fe | Focal length of the eyepiece | - | The distance from the center of the eyepiece lens to the point at which light passing through the lens is brought to a focus.
| FOVe | Field of view of the eyepiece | - | A measure of the area you can see when looking through the eyepiece alone. This is expressed as the angle from one side of the area to the other (with you at the vertex). The parameters fe and FOVe are the two primary eyepiece specifications.
| M | Magnification | M = fo / fe = Do / Dep | The apparent increase in size of an object when looking through the telescope, compared with viewing it directly.
| Dep | Diameter of the exit pupil | Dep = Do / M = fe / fR | The exit pupil is where the light leaving the eyepiece converges to its smallest circle. You find the exit pupil when you bring your eye up to the eyepiece until you can see the whole image.
| FOVscope | Field of view of the scope | FOVscope = FOVe / M | Tells you how much of the sky you see in the image in the telescope. This is the distance from one side of the eyepiece image to the other, expressed in degrees or minutes of arc across the sky.
| Gmag | Magnitude (Scope) Gain | Gmag = 5 log (Do/Deye) = 5 log(Do) - 4 | This represents how many more magnitudes the scope lets one see, over and above what one's eye alone can see. Then to find the faintest magnitude one can see in the scope, the calculated value (taking 7 mm for the eye diameter) is added to the faintest magnitude our eye can see, magnitude 6. This is the (star) magnitude limit of the scope, see below.
| Lmag | Star magnitude limit | Lmag = 2 + 5 log (Do) | The faintest star you can see in the scope, expressed in terms of star magnitude. The majority of visible stars have magnitudes in the range of 1-6, where the brightest stars have the lowest magnitude number 1, and the faintest ones magnitude 6.
| PR | Resolving Power | PR = 115.8 / Do or PR = 138 / Do | The smallest separation between two stars (called Dawes' Limit resp. Rayleigh Limit) that can possibly be distinguished with the scope, expressed in arc seconds (1/21'600 of a turn). This is an indication of the finest detail the scope is capable of seeing, regardless of the magnifying power.
| GL | Light Crasp | GL = ( Do / Deye ) 2 | Tells you how many times bigger the area of the scope is to the area of the human eye. What the telescope does is to collect light over a much wider area than the 7mm of your eye pupil. It then focuses that light down to the size of your eye pupil resulting in much more light passing into your eye, enabling you to see much fainter stars with a telescope than you could without.
| Mmax | Max Magnification | Mmax x PR = 115.8 -> Mmax = Do | The Dawes' Limit determines the smallest separation between two stars that the telescope can resolve (see Resolving Power). Then for a person to see that separation, the telescope needs to magnify the separation to one the eye can resolve, which is 2 minutes of arc, or 120 arc seconds.
| fe-min | Eyepiece for Mmax | fe = fo / Mmax = fo / Do = fR | The eyepiece focal length to get the maximum magnification can be found by just looking at the f-ratio for the scope. When using an eyepiece with a focal length in mm that matches the f-ratio, you will clearly see the rings of the Airy disk, telling you that you are operating at limit of the scope's resolution.
| SB | Surface Brightness | SB = 2 Dep2 | This is the brightness (density) of bodies that cover an area, such as planets, nebulae and galaxies. These are distinct from bodies that appear as points, such as stars or asteroids. When an object has area, that area gets larger as magnification is increased, so the light is spread thinner. As a result, surface brightness decreases with increasing magnification.
Multiplier | Extender | Focal extender (Barlow) | factor x M | A focal extender (Barlow) lens may be placed before an eyepiece to effectively decrease the eyepiece's focal length by the amount of the Barlow's divergence. Since the magnification provided by a telescope and eyepiece is equal to the telescope's focal length divided by the eyepiece's focal length, this has the effect of increasing the magnification of the image.
| Reducer | Focal reducer | factor / M | A reducer is a set of converging (or positive) lenses that cause the light from a telescope objective to converge at a steeper angle to the focal plane as if it were coming from an objective with a faster (lower) focal ratio and a shorter focal length. A focal reducer leads to a wider field of view and a brighter image of extended objects.
Practical Limits | Atmosphere | Highest practical maginifcation | average night: 250x bad night: 100-150x | A realistic upper limit to magnification on an average night would be about 250x. On a bad night, you might not be able to exceed 100-150x of increasing the magnification of the image. This is caused by atmospherical limitations. The corollary to the misconception that more magnification is better is that, if that's not the case, less magnification must be better.
| Eyepiece | Maximum eypiece focal length | 7 x fR (max 40-50mm) | The minimum magnification is determined by the exit pupil, which is the diameter of the beam of light coming out of the eyepiece. The minimum magnification should give us an exit pupil that just matches a "typical" pupil diameter of 7 mm, the maximum eyepiece focal length is easily found as 7 x fR with an upper limit of 40-50mm.
| Exit pupil (mm) | SB (%)
| 1 | 2
| 2 | 8
| 3 | 18
| 4 | 32
| 5 | 50
| 6 | 72
| 7.07 | 99.9698

## Calculations (1)
This worksheet allows the user to choose existing equipment (listed on the next worksheet) for the various input parameters (telescope and eyepiece, including practical limits for atmosphere and focal length eyepiece) can be indicated. Further calculations are based on the defined equations.
1. Input parameters
Telescope Selection |  | Do (mm) | fR
Sky-Watcher / Evoguide 50ED |  | 56 | 4.8
Multiplier Selection |  | Factor
None |  | 1
Eyepiece Selection |  | fe (mm) | FOVe (0)
Celestron / Plössl / 13 |  | 13 | 52
Practical Limits |  | Value
Atmosphere (magnification) |  | 200
Focal length eyepiece (mm) |  | 75
2. Operating Points
Scope | PR | 2.0679 | arc seconds
| Gmag | 4.7409 | magnitude
| Lmag | 10.7409 | magnitude
| fo | 268.8 | mm
Scope/Eyepiece | M | 20.6769 |  | (between Mmin and Mmax?)
| FOVscope | 2.5149 | degrees
| Dep | 2.7083 | mm | (between 1 - 7 mm?)
| SB | 14.6701 | %
| GL | 64 | 125.44 | (for Deye = 7 mm and 5 mm)
| start with M | Maximum Magnification | Optimum Magnification | Wide Magnification | Minimum Magnification | start with fe
Special Cases | M (theory) | 56 | 28 | 24 | 33.6 | fe (mm) (theory)
| Mmax | 56 | 28 | 24 | 33.6 | fe-max (mm)
| Dep-min (mm) | 1 | 2 | 5 | 7 | Dep-max (mm)
| fe-min (mm) | 4.8 | 9.6 | 11.2 | 8 | Mmin
| SBmin (%) | 2 | 8 | 50 | 99.9698 | SBmax (%)
|  | Min |  |  |  | Min
|  | 8 |  |  |  | 4.8
|  | Value |  |  |  | Value
|  | 20.6769 |  |  |  | 13
|  | Max |  |  |  | Max
|  | 56 |  |  |  | 33.6
|  | Min |  |  |  | Min
|  | 1 |  |  |  | 2
|  | Value |  |  |  | Value
|  | 2.7083 |  |  |  | 14.6701
|  | Max |  |  |  | Max
|  | 7 |  |  |  | 99.9698
3. Object Visibility
Category |  | Selection |  | Magnitude |  |  | Examples | Magnification
Brightest star |  | Vega |  | 0.03 |  |  | Jupiter/Saturn | 80-100x
Nearest star |  | Procyon A |  | 0.34 |  |  | Moon | 50-100x
Planet |  | Full Moon (mean) |  | -12.74 |  |  | Pleiades | 20-30x
Messier |  | M42 |  | 4 |  |  | Beehive | 30-40x
Planetary nebulae (NGC, IC) |  | NGC 6790 |  | 10.5 |  |  | Orion nebulae | 100-150x
Herschel 400 (NGC) |  | 157 |  | 10.4 |  |  | Andromeda galaxy | 150-200x
(less than Lmag?)
Angular diameters (planets)
[8 empty] | Object | diameter |  | Graphical data
[8 empty] | Mercury | 4.5 - 13.0'' |  | Magnitude
[8 empty] | Venus | 9.6 - 66.0'' | min | 8 | 1
[7 empty] | Most interesting | Mars | 3.5 - 25.1'' | max | 56 | 1
[8 empty] | Jupiter | 29.8 - 50.1'' | selected | 20.6769 | 1
[8 empty] | Saturn | 14.9 - 20.8'' |  | Focal length eyepiece
[8 empty] | Uranus | 3.3 - 4.1'' | min | 4.8 | 1
[8 empty] | Neptune | 2.2 - 2.4'' | max | 33.6 | 1
[10 empty] | selected | 13 | 1
Diameter exit pupil
[8 empty] | Age (years) | Pupil Size | min | 1 | 1
SB -> | [7 empty] | 20 or less | 7.7 | max | 7 | 1
[8 empty] | 30 | 7 | selected | 2.7083 | 1
M -> | [7 empty] | 35 | 6.5 |  | Surface Brightness
[8 empty] | 45 | 6 | min | 2 | 1
fe -> | [7 empty] | 60 | 5.5 | max | 99.9698 | 1
[8 empty] | 80 | 5 | selected | 14.6701 | 1
mm

## Equipment
List your own equipment data here. | [7 empty] | Currently not used, but will be in a future version.
A. Scopes |  |  | B. Multiplier (Extender/Reducer) |  | C. Eyepieces |  |  | D. Cameras | [5 empty] | E. Filters
Manufacturer / Type | Do (mm) | fR | Manufacturer / Type | Factor | Manufacturer / Type | fe (mm) | FOVe | Manufacturer / Type | Resolution | Diagonal (mm) | Sensor Format | Color/Mono | Application | Manufacturer / Type | Diameter | Application
Celestron / NexStar (8'') | 203.2 | 10 | None | 1 | Celestron / Plössl / 40 | 40 | 43 | ZWO / ASI120MM Mini |  | 6 | 1/3'' | Mono | autoguiding | Rollei / Astroklar | 67 mm | light polution
Celestron / Evolution (8'') | 203.2 | 10 | Celestron / Barlow #93507 | 2 | Luminos / Fully Multi-Coated | 7 | 82 | ZWO / ASI224MC |  | 6.1 | 1/3'' | Color | planetary, autoguiding | Celestron / UHC/LPR | 1.25'' | light polution
Sky-Watcher / Virtuoso GTi | 127 | 11.8 | Celestron / Barlow E-lux | 2 | SVBONY | 26 | 70 | ZWO / ASI462MC |  | 6.4 | 1/2.8'' | Color | planetary, lunar, solar | Celestron / Narrowband O-III | 2'' | contrast (nebulae)
Sky-Watcher / Evoguide 50ED | 56 | 4.8 | Celestron / Barlow X-Cel LX | 3 | Celestron / Plössl / 13 | 13 | 52 | ZWO / ASI533MC Pro |  | 16 | 1'' | Color | deep-sky | Haida / Slim C-POL | 77 mm | reflection reduction
Lunt H-Alpha / 40mm | 40 | 10 | .. |  | Luminos / Fully Multi-Coated | 10 | 82 | ZWO / ASI585MC |  | 12.9 | 1/1.2'' | Color | planetary, lunar, solar | Optolong / UV/IR Cut | 1.25'' | improve sharpness
.. |  |  | .. |  | Celestron / X-Cel LX | 5 | 60 | ZWO / ASI290MM Mini |  | 6.4 | 1/3'' | Mono | autoguiding | B+W / UV-HAZE MRC | 67 mm | reduce uv
.. |  |  | .. |  | Lunt / Zoom Eyepiece (min) | 7.2 | 40 | ZWO / ASI178MM | 6.4 | 8.9 | 1/1.8'' | Mono | planetary, lunar, solar | B+W / UV-HAZE MRC nano | 67 mm | reduce uv
.. |  |  | .. |  | Lunt / Zoom Eyepiece (max) | 21.5 | 53 | Brenner / Deep-Sky Camera | 2.1 |  |  | Color | planetary, deep-sky, autoguiding | Celestron / No. 12 (deep yellow) | 2'' | planetary
.. |  |  | .. |  | Celestron / Plössl / 25 | 25 | 52 | Celestron / NexImage 5 | 5 |  |  | Color | planetary | Celestron / No. 21 (orange) | 2'' | planetary
.. |  |  | .. |  | Celestron / E-lux / 40 | 40 | 56 | .. | [5 empty] | Celestron / No. 25 (red) | 2'' | planetary
.. |  |  | .. |  | Celestron / E-lux / 32 | 32 | 56 | .. | [5 empty] | Celestron / No. 58 (green) | 2'' | planetary
.. |  |  | .. |  | Celestron / E-lux / 26 | 26 | 56 | .. | [5 empty] | Celestron / No. 80A (blue) | 2'' | planetary
.. |  |  | .. |  | Celestron / Zoom (min) | 8 | 43 | .. | [5 empty] | Rollei / F:X Pro Magnetic Mark II ND Set | 67 mm | ??
.. |  |  | .. |  | Celestron / Zoom (max) | 24 | 66 | .. | [5 empty] | Kase / Clip-in Sony ND8 |  | low light landscape
.. |  |  | .. |  | .. |  |  | .. | [5 empty] | Kase / Clip-in Sony ND16 |  | low light landscape
.. |  |  | .. |  | .. |  |  | .. | [5 empty] | Kase / Clip-in Sony ND32 |  | low light landscape
.. |  |  | .. |  | .. |  |  | .. | [5 empty] | Kase / Clip-in Sony ND64 |  | low light landscape
.. |  |  | .. |  | .. |  |  | .. | [5 empty] | Kase / Clip-in Sony ND1000 |  | low light landscape
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..
.. |  |  | .. |  | .. |  |  | ..

## Calculations (2)
This worksheet does not use existing equipment, but allows users to choose their own values for the various input parameters (telescope, eyepiece and practical limits). Further calculations are analogous.
1. Input parameters
Inputs
| Parameter | Selection | Min |  |  |  | Max
Scope | Do (mm) | 228 | 0 |  |  |  | 500
| fR | 10.1 | 1 |  | 101 |  | 20
| Multiplier | 1 | 0.1 |  | 10 |  | 5
Eyepiece | fe (mm) | 12 | 1 |  |  |  | 100
| FOVe (o) | 52 | 1 |  |  |  | 100
Practical Limits | Atmosphere (magnitude) | 203 | 50 |  |  |  | 500
| focal length eyepiece (mm) | 70 | 10 |  |  |  | 100
2. Operating Points
Scope | PR | 0.50789 | arc seconds
| Gmag | 7.7897 | magnitude
| Lmag | 13.7897 | magnitude
| fo | 2302.8 | mm
Scope/Eyepiece | M | 191.9 |  | (between Mmin and Mmax?)
| FOVscope | 0.27097 | degrees
| Dep | 1.1881 | mm | (between 1 - 7 mm?)
| SB | 2.8233 | %
| GL | 1060.898 | 2079.36 | (for Deye = 7 mm and 5 mm)
| start with M | Maximum Magnification | Optimum Magnification | Wide Magnification | Minimum Magnification | start with fe
Special Cases | M (theory) | 228 | 114 | 50.5 | 70.7 | fe (mm) (theory)
| Mmax | 203 | 114 | 50.5 | 70 | fe-max (mm)
| Dep-min (mm) | 1.1232 | 2 | 5 | 6.9307 | Dep-max (mm)
| fe-min (mm) | 11.3438 | 20.2 | 45.6 | 32.8971 | Mmin
| SBmin (%) | 2.5229 | 8 | 50 | 98.0194 | SBmax (%)
|  | Min |  |  |  | Min
|  | 32.8971 |  |  |  | 11.3438
|  | Value |  |  |  | Value
|  | 191.9 |  |  |  | 12
|  | Max |  |  |  | Max
|  | 228 |  |  |  | 70
|  | Min |  |  |  | Min
|  | 1.1232 |  |  |  | 2.5229
|  | Value |  |  |  | Value
|  | 1.1881 |  |  |  | 2.8233
|  | Max |  |  |  | Max
|  | 6.9307 |  |  |  | 98.0194
3. Object Visibility
Category |  | Selection |  | Magnitude
Brightest star |  | Procyon |  | 0.4
Nearest star |  | Procyon A |  | 0.34
Planet |  | Full Moon (mean) |  | -12.74
Messier |  | M42 |  | 4
Planetary nebulae (NGC, IC) |  | NGC 6790 |  | 10.5
Herschel 400 (NGC) |  | 157 |  | 10.4
(less than Lmag?)
[7 empty] | diameter |  | Graphical data
[7 empty] | 4.5 - 13.0'' |  | Magnitude
[7 empty] | 9.6 - 66.0'' | min | 32.8971 | 1
[7 empty] | 3.5 - 25.1'' | max | 228 | 1
[7 empty] | 29.8 - 50.1'' | selected | 191.9 | 1
[7 empty] | 14.9 - 20.8'' |  | Focal length eyepiece
[7 empty] | 3.3 - 4.1'' | min | 11.3438 | 1
[7 empty] | 2.2 - 2.4'' | max | 70 | 1
[8 empty] | selected | 12 | 1
Diameter exit pupil
[7 empty] | Pupil Size | min | 1.1232 | 1
SB -> | [6 empty] | 7.7 | max | 6.9307 | 1
[7 empty] | 7 | selected | 1.1881 | 1
M -> | [6 empty] | 6.5 |  | Surface Brightness
[7 empty] | 6 | min | 2.5229 | 1
fe -> | [6 empty] | 5.5 | max | 98.0194 | 1
[7 empty] | 5 | selected | 2.8233 | 1
mm

## Data
Note: some stars ar variable stars, meaning that the brightness as seen from Earth (its apparent or visual magnitude) changes with time. This variation may be caused by a change in emitted light or by something partly blocking the light. You might want to periodically check the correctness of the listed values.
Cross reference
[8 empty] | See Planetary Nebulae |  |  |  | Cross reference |  |  |  | Cross reference
[8 empty] | See Herschel 400 |  |  |  | See Messier List |  |  |  | See Messier List
Brightest Stars |  |  | Nearest Stars |  |  | Planets |  | Messier List |  |  |  | Planetary Nebulae |  |  |  | Herschel 400
# | Star Name | Visual Mag. | # | Star Name | Visual Mag. | Planet Name | Visual Mag. | Messier | NGC | Common Name | Visual Mag. | NGC/IC | Messier | Common Name | Visual Mag. | NGC | Other | Type | Visual Mag.
1 | Sirius | -1.44 | 1 | Proxima Centauri | 11.05 | Mercury | 0.23 | M1 | NGC 1952 | Crab Nebula | 8.4 | NGC 7293 |  | Helix Nebula | 7 | 40 | PK 120+9.1 | Planetary Nebula | 11
2 | Canopus | -0.62 | 2 | α Centauri A | -0.01 | Venus | -4.14 | M2 | NGC 7089 |  | 6.5 | NGC 6853 | M27 | Dumbbell Nebula | 7.5 | 129 | OCL 294 | Open Cluster | 6.5
3 | Rigil Kentauraus | -0.28 | 3 | α Centauri B | 1.33 | Full Moon (mean) | -12.74 | M3 | NGC 5272 |  | 6.2 | NGC 7009 |  | Saturn Nebula | 8 | 136 | OCL 295 | Open Cluster |  | unknown
4 | Arcturus | -0.05 | 4 | Barnard's Star | 9.54 | Mars | -2.91 | M4 | NGC 6121 | Spider Globular | 5.6 | NGC 3918 |  | Blue Planetary | 8 | 157 | MCG 2-2-56 | Galaxy | 10.4
5 | Vega | 0.03 | 5 | SO 025300.5 + 165258 | 15.4 | Jupiter | -2.2 | M5 | NGC 5904 | Rose Cluster | 5.6 | NGC 246 |  | Skull Nebula | 8.5 | 185 | UGC 396 | Galaxy | 9.2
6 | Capella | 0.08 | 6 | Wolf 359 | 13.54 | Saturn | -0.24 | M6 | NGC 6405 | Butterfly Cluster | 5.3 | NGC 6543 |  | Cat's Eye Nebula | 8.5 | 205 | M110 | Galaxy | 8
7 | Rigel | 0.18 | 7 | Lalande 21185 | 7.49 | Uranus | 5.68 | M7 | NGC 6475 | Ptolemy's Cluster | 4.1 | NGC 6572 |  | Blue Raquetball Nebula | 8.5 | 225 | OCL 305 | Open Cluster | 7
8 | Procyon | 0.4 | 8 | Sirius A | -1.44 | Neptune | 7.78 | M8 | NGC 6523 | Lagoon Nebula | 6 | NGC 3132 |  | Eight-Burst Planetary | 8.5 | 246 | PK 118-74.1 | Planetary Nebula | 8
9 | Betelgeuse | 0.45 | 9 | Sirius B | 8.44 |  |  | M9 | NGC 6333 |  | 7.7 | NGC 7662 |  | Blue Snowball Nebula | 9 | 247 | ESO 540-22 | Galaxy | 8.9
10 | Achernar | 0.45 | 10 | BL Ceti | 12.57 |  |  | M10 | NGC 6254 |  | 6.6 | NGC 7027 |  | Magic Carpet Nebula | 9 | 253 | ESO 474-29 | Galaxy | 7.1
11 | Hadar | 0.61 | 11 | UV Ceti | 12.52 |  |  | M11 | NGC 6705 | Wild Duck Cluster | 6.3 | NGC 6210 |  | Turtle Nebula | 9 | 278 | UGC 528 | Galaxy | 10.9
12 | Altair | 0.76 | 12 | Ross 154 | 10.95 |  |  | M12 | NGC 6218 | Gumball Globular | 6.7 | NGC 6720 | M57 | Ring Nebula | 9 | 288 | ESO 474-SC37 | Globular Cluster | 8.1
13 | Acrux | 0.77 | 13 | Ross 248 | 12.28 |  |  | M13 | NGC 6205 | (Great) Hercules Globular Cluster | 5.8 | NGC 2867 |  | Royal Aqua Nebula | 9.5 | 381 | OCL 317 | Open Cluster | 9
14 | Aldebaran | 0.87 | 14 | ξ Eri | 3.73 |  |  | M14 | NGC 6402 |  | 7.6 | NGC 6826 |  | Blinking Planetary Nebula | 9.5 | 404 | UGC 718 | Galaxy | 10.1
15 | Spica | 0.98 | 15 | Lacaille 9352 | 7.34 |  |  | M15 | NGC 7078 | Great Pegasus Cluster | 6.2 | NGC 1535 |  | Cleopatra's Eye Nebula | 9.5 | 436 | OCL 320 | Open Cluster | 8.8
16 | Antares | 1.06 | 16 | Ross 128 | 11.08 |  |  | M16 | NGC 6611 | Eagle Nebula Cluster | 6.4 | NGC 1360 |  | Robin's Egg Nebula | 9.5 | 457 | OCL 321 | Open Cluster | 6.4
17 | Pollux | 1.16 | 17 | EZ Aqr A | 12.18 |  |  | M17 | NGC 6618 | Omega, Swan, Horseshoe, Lobster Nebula | 7 | NGC 2392 |  | Eskimo/Clown Face Nebula | 9.5 | 488 | UGC 907 | Galaxy | 10.3
18 | Fomalhaut | 1.17 | 18 | EZ Aqr B | 12.33 |  |  | M18 | NGC 6613 | Black Swan Cluster | 7.5 | NGC 3242 |  | Ghost of Jupiter Nebula | 9.5 | 524 | UGC 968 | Galaxy | 10.6
19 | Deneb | 1.25 | 19 | EZ Aqr C | 14.03 |  |  | M19 | NGC 6273 |  | 6.8 | IC 418 |  | Spirograph Nebula | 10 | 559 | OCL 322 | Open Cluster | 9.5
20 | Mimosa | 1.25 | 20 | Procyon A | 0.34 |  |  | M20 | NGC 6514 | Trifid Nebula | 9 | NGC 5882 |  | Green Snowball Nebula | 10 | 584 | IC 1712;H I 100 | Galaxy | 10.4
21 | Regulus | 1.36 | 21 | Procyon B | 10.8 |  |  | M21 | NGC 6531 | Webb's Cross Cluster | 6.5 | NGC 5189 |  | Spiral Planetary Nebula | 10 | 596 | MCG 1-5-5 | Galaxy | 10.9
22 | Adhara | 1.5 | 22 | 61 Cyg A | 5.21 |  |  | M22 | NGC 6656 | (Great) Sagittarius Cluster | 5.1 | NGC 6818 |  | Little Gem Nebula | 10 | 598 | M33 | Galaxy | 5.7
23 | Castor | 1.58 | 23 | 61 Cyg B | 6.03 |  |  | M23 | NGC 6494 |  | 6.9 | NGC 6790 |  | Eye of The Eagle | 10.5 | 613 | ESO 413-11 | Galaxy | 10
24 | Gacrux | 1.59 | 24 | GJ 725A | 8.91 |  |  | M24 | NGC 6603 | (Small) Sagittarius Star Cloud, Milky Way Patch | 4.6 | NGC 40 |  | Bow Tie Nebula | 10.5 | 615 | MCG 1-5-8 | Galaxy | 11.5
25 | Shaula | 1.62 | 25 | GJ 725B | 9.69 |  |  | M25 |  | IC 4725 | 6.5 | IC 1297 |  | White Flower Nebula | 10.5 | 637 | OCL 329 | Open Cluster | 8.2
26 | Bellatrix | 1.64 | 26 | GX And | 8.07 |  |  | M26 | NGC 6694 |  | 8 | NGC 4361 |  | Raven's Eye Nebula | 10.5 | 651 | M76 | Planetary Nebula | 12
27 | Elnath | 1.65 | 27 | GQ And | 11.04 |  |  | M27 | NGC 6853 | Dumbbell Nebula, Apple Core Nebula | 7.4 | IC 4406 |  | Retina Nebula | 10.5 | 654 | OCL 330 | Open Cluster | 6.5
28 | Miaplacidus | 1.67 | 28 | ξ Ind A | 4.69 |  |  | M28 | NGC 6626 |  | 6.8 | NGC 2346 |  | Butterfly Nebula | 10.5 | 659 | OCL 332 | Open Cluster | 7.9
29 | Alnilam | 1.69 | 29 | DX Cancri | 14.81 |  |  | M29 | NGC 6913 | Cooling Tower | 7.1 | NGC 2438 |  | Smoke Ring in M46 | 10.5 | 663 | OCL 333 | Open Cluster | 7.1
30 | Alnair | 1.73 | 30 | τ Ceti | 3.5 |  |  | M30 | NGC 7099 | Jellyfish Cluster | 7.2 | NGC 2440 |  | Peanut Nebula | 10.5 | 720 | MCG 2-5-68 | Galaxy | 10.2
31 | Alnitak | 1.74 | 31 | GJ 1061 | 13.03 |  |  | M31 | NGC 224 | Andromeda Galaxy | 3.4 | NGC 1514 |  | Crystal Ball Nebula | 10.5 | 752 | OCL 363 | Open Cluster | 5.7
32 | Regor | 1.75 | 32 | YZ Ceti | 11.6 |  |  | M32 | NGC 221 | "Le Gentil" (Satellite of M31) | 8.1 | NGC 6741 |  | Phantom Streak Nebula | 11 | 772 | UGC 1466 | Galaxy | 10.3
33 | Alioth | 1.76 | 33 | Luyten's Star | 9.89 |  |  | M33 | NGC 598 | Triangulum/Pinwheel Galaxy | 5.7 | IC 2149 |  | Eye of the Charioteer | 11 | 779 | MCG 1-6-16 | Galaxy | 11
34 | Kaus Aust. | 1.79 | 34 | Teegarden's Star | 15.4 |  |  | M34 | NGC 1039 | Spiral Cluster | 5.5 | IC 2448 |  |  | 11 | 869 | OCL 350 | Open Cluster | 4
35 | Mirfak | 1.79 | 35 | SCR 1845-6357 A | 17.39 |  |  | M35 | NGC 2168 | Shoe-Buckle Cluster | 5.3 | IC 2501 |  |  | 11 | 884 | OCL 353 | Open Cluster | 4
36 | Dubhe | 1.81 | 36 | Kapteyn's Star | 7.54 |  |  | M36 | NGC 1960 | Pinwheel Cluster | 6.3 | NGC 3699 |  | Hamburger Planetary | 11 | 891 | UGC 1831 | Galaxy | 10
37 | Wezen | 1.83 | 37 | AX Mic | 6.68 |  |  | M37 | NGC 2099 | Salt and Pepper Cluster | 6.2 | NGC 6891 |  | Faint Ring Nebula | 11 | 908 | ESO 545-11 | Galaxy | 10.2
38 | Alkaid | 1.85 | 38 | Kruger 60 A | 9.59 |  |  | M38 | NGC 1912 | Starfish Cluster | 7.4 | IC 4593 |  | White Eyed Pea Nebula | 11 | 936 | UGC 1929 | Galaxy | 10.1
39 | Sargas | 1.86 | 39 | Kruger 60 B | 10.3 |  |  | M39 | NGC 7092 |  | 5.2 | IC 4634 |  | Rose Nebula | 11 | 1022 | MCG 1-7-25 | Galaxy | 11.4
40 | Avior | 1.86 | 40 | DEN 1048-3956 | 17.39 |  |  | M40 |  | Winecke 4 | 9.3 | NGC 6309 |  | Box Nebula | 11 | 1023 | UGC 2154 | Galaxy | 9.5
41 | Menkalinan | 1.9 | 41 | Ross 614 A | 11.1 |  |  | M41 | NGC 2287 | Little Beehive Cluster | 4.6 | NGC 650/1 | M76 | Little Dumbbell Nebula | 11 | 1027 | OCL 357 | Open Cluster | 6.7
42 | Atria | 1.91 | 42 | Ross 614 B | 14.6 |  |  | M42 | NGC 1976 | (Great) Orion Nebula | 4 | NGC 6153 |  |  | 11 | 1052 | MCG 1-7-34 | Galaxy | 10.6
43 | Koo She | 1.93 | 43 | V2306 Oph | 10.12 |  |  | M43 | NGC 1982 | De Mairan's Nebula | 9 | NGC 3587 | M97 | Owl Nebula | 11 | 1055 | UGC 2173 | Galaxy | 10.6
44 | Alhena | 1.93 | 44 | Van Maanen's Star | 12.36 |  |  | M44 | NGC 2632 | Beehive Cluster (The Manger, The Praesepe) | 3.7 | NGC 6803 |  | Cheerio Nebula | 11.5 | 1084 | MCG 1-8-7 | Galaxy | 10.6
45 | Peacock | 1.94 | 45 | GJ 1 | 8.57 |  |  | M45 |  | Pleiades, Subaru, Seven Sisters | 1.6 | NGC 6326 |  | Tarantula Planetary | 11.5 | 1245 | OCL 389 | Open Cluster | 8.4
46 | Polaris | 1.97 | 46 | Wolf 424 A | 12.5 |  |  | M46 | NGC 2437 |  | 6 | IC 2553 |  |  | 11.5 | 1342 | OCL 401 | Open Cluster | 6.7
47 | Mirzam | 1.98 | 47 | Wolf 424 B | 13.4 |  |  | M47 | NGC 2422 |  | 5.2 | NGC 3211 |  |  | 11.5 | 1407 | ESO 548-67 | Galaxy | 9.8
48 | Alphard | 1.99 | 48 | TZ Ari | 12.26 |  |  | M48 | NGC 2548 |  | 5.5 | IC 2621 |  |  | 11.5 | 1444 | OCL 394 | Open Cluster | 6.6
49 | Algieba | 2.01 | 49 | GJ 687 | 9.17 |  |  | M49 | NGC 4472 |  | 8.4 | IC 3568 |  | Lemon Slice Nebula | 11.5 | 1501 | PK 144+6.1 | Planetary Nebula | 13
50 | Hamal | 2.01 | 50 | LHS 292 | 15.73 |  |  | M50 | NGC 2323 | Heart-Shaped Cluster | 6.3 | NGC 5307 |  | Cotton Candy Planetary | 11.5 | 1502 | OCL 383 | Open Cluster | 5.7
[8 empty] | M51 | NGC 5194 | Whirlpool Galaxy | 8.4 | NGC 3195 |  | Eye of the Chameleon | 11.5 | 1513 | OCL 398 | Open Cluster | 8.4
[8 empty] | M52 | NGC 7654 | Scorpion Cluster (Cassiopeia Salt-and-Pepper) | 7.3 | NGC 5315 |  | X-Marks the Spot Planetary | 11.5 | 1528 | OCL 397 | Open Cluster | 6.4
[8 empty] | M53 | NGC 5024 |  | 7.6 | NGC 7048 |  | Ornament Nebula | 11.5 | 1535 | PK 206-40.1 | Planetary Nebula | 10
[8 empty] | M54 | NGC 6715 |  | 7.6 | NGC 6905 |  | Blue Flash Nebula | 11.5 | 1545 | OCL 399 | Open Cluster | 6.2
[8 empty] | M55 | NGC 6809 | Specter Cluster, Summer Rose (Star) | 6.3 | NGC 2371/2 |  | Candy Wrapper Nebula | 11.5 | 1647 | OCL 457 | Open Cluster | 6.4
[8 empty] | M56 | NGC 6779 |  | 8.3 | IC 4191 |  |  | 11.5 | 1664 | OCL 411 | Open Cluster | 7.6
[8 empty] | M57 | NGC 6720 | Ring Nebula | 8.8 | NGC 6369 |  | Little Ghost Nebula | 11.5 | 1788 | LBN 916 | Nebula |  | unknown
[8 empty] | M58 | NGC 4579 |  | 9.7 | NGC 2022 |  | White Snowball Nebula | 11.5 | 1817 | OCL 463 | Open Cluster | 7.7
[8 empty] | M59 | NGC 4621 |  | 9.6 | IC 4997 |  |  | 11.5 | 1857 | OCL 428 | Open Cluster | 7
[8 empty] | M60 | NGC 4649 |  | 8.8 | NGC 6567 |  |  | 11.5 | 1907 | OCL 434 | Open Cluster | 8.2
[8 empty] | M61 | NGC 4303 | Swelling Spiral | 9.7 | NGC 6629 |  | Jellyfish Planetary | 11.5 | 1931 | OCL 441 | Cluster Nebulosity | 11.3
[8 empty] | M62 | NGC 6266 | Flickering Globular | 6.5 | NGC 6644 |  |  | 11.5 | 1961 | IC 2133 | Galaxy | 11.1
[8 empty] | M63 | NGC 5055 | Sunflower Galaxy | 8.6 | IC 4776 |  |  | 11.5 | 1964 | ESO 554-10 | Galaxy | 10.8
[8 empty] | M64 | NGC 4826 | Black Eye Galaxy | 8.5 | NGC 6751 |  | Glowing Eye Nebula | 12 | 1980 | OCL 529 | Nebula |  | unknown
[8 empty] | M65 | NGC 3623 | Leo Triplet | 9.3 | NGC 6781 |  | Little Ring Nebula | 12 | 1999 | LBN 979 | Nebula |  | unknown
[8 empty] | M66 | NGC 3627 | Leo Triplet | 8.9 | NGC 6804 |  | White Snowball Nebula | 12 | 2022 | PK 196-10.1 | Planetary Nebula | 12
[8 empty] | M67 | NGC 2682 | King Cobra Cluster | 6.1 | IC 2165 |  |  | 12 | 2024 | CED 55P | Nebula |  | unknown
[8 empty] | M68 | NGC 4590 |  | 7.8 | NGC 7008 |  | Fetus Nebula | 12 | 2126 | OCL 418 | Open Cluster | 10
[8 empty] | M69 | NGC 6637 |  | 7.6 | NGC 7026 |  | Cheeseburger Nebula | 12 | 2129 | OCL 467 | Open Cluster | 6.7
[8 empty] | M70 | NGC 6681 |  | 7.9 | IC 5148/50 |  | Eye of the Crane | 12 | 2158 | OCL 468 | Open Cluster | 8.6
[8 empty] | M71 | NGC 6838 | Angelfish Cluster | 8.3 | IC 5217 |  |  | 12 | 2169 | OCL 481 | Open Cluster | 5.9
[8 empty] | M72 | NGC 6981 |  | 9.3 | NGC 5873 |  |  | 12 | 2185 | LBN 997 | Nebula |  | unknown
[8 empty] | M73 | NGC 6994 | Group of 4 stars | 9 | IC 351 |  |  | 12 | 2186 | OCL 498 | Open Cluster | 8.7
[8 empty] | M74 | NGC 628 | Phantom Nebula/Cluster/Galaxy | 9.4 | IC 2003 |  |  | 12 | 2194 | OCL 495 | Open Cluster | 8.5
[8 empty] | M75 | NGC 6864 |  | 8.5 | NGC 5979 |  | Purple Snowball | 12 | 2204 | OCL 572 | Open Cluster | 8.6
[8 empty] | M76 | NGC 650 | Little Dumbbell, Cork, Butterfly Nebula | 10.1 | NGC 6886 |  | TIE Fighter/ Little Saturn Nebula | 12 | 2215 | OCL 550 | Open Cluster | 8.4
[8 empty] | M77 | NGC 1068 | Cetus A, Squid Galaxy | 8.9 | NGC 6302 |  | Bug Nebula | 12 | 2232 | OCL 545 | Open Cluster | 3.9
[8 empty] | M78 | NGC 2068 | Casper (the Friendly) Ghost Nebula | 8.3 | NGC 6337 |  | Green Lifesaver Nebula | 12 | 2244 | NGC 2239 | Open Cluster | 4.8
[8 empty] | M79 | NGC 1904 |  | 7.7 | NGC 6445 |  | Box Nebula | 12 | 2251 | OCL 499 | Open Cluster | 7.3
[8 empty] | M80 | NGC 6093 |  | 7.3 | NGC 6537 |  | Red Spider Nebula | 12 | 2264 | OCL 495 | Cluster Nebulosity | 3.9
[8 empty] | M81 | NGC 3031 | Bode's Galaxy | 6.9 | NGC 2899 |  |  | 12 | 2266 | OCL 471 | Open Cluster | 10
[8 empty] | M82 | NGC 3034 | Cigar Galaxy | 8.4 | IC 4846 |  |  | 12.5 | 2281 | OCL 446 | Open Cluster | 5.4
[8 empty] | M83 | NGC 5236 | Southern Pinwheel Galaxy | 7.6 | NGC 1501 |  | Blue Oyster Nebula | 12.5 | 2286 | OCL 548 | Open Cluster | 7.5
[8 empty] | M84 | NGC 4374 |  | 9.1 | NGC 7354 |  | Kissing Lips Nebula | 12.5 | 2301 | OCL 540 | Open Cluster | 6
[8 empty] | M85 | NGC 4382 |  | 9.1 | NGC 6884 |  |  | 12.5 | 2304 | OCL 484 | Open Cluster | 10
[8 empty] | M86 | NGC 4406 |  | 8.9 | IC 5117 |  |  | 12.5 | 2311 | OCL 553 | Open Cluster | 10
[8 empty] | M87 | NGC 4486 | Virgo A, Smoking Gun Galaxy | 8.6 | NGC 2452 |  |  | 12.5 | 2324 | OCL 542 | Open Cluster | 8.4
[8 empty] | M88 | NGC 4501 |  | 9.6 | NGC 2818 |  | Little Crab Nebula in Pyxis Cluster | 12.5 | 2335 | OCL 562 | Open Cluster | 7.2
[8 empty] | M89 | NGC 4552 |  | 9.8 | IC 4699 |  |  | 12.5 | 2343 | OCL 565 | Open Cluster | 6.7
[8 empty] | M90 | NGC 4569 |  | 9.5 | IC 4663 |  |  | 12.5 | 2353 | OCL 567 | Open Cluster | 7.1
[8 empty] | M91 | NGC 4548 |  | 10.2 | NGC 6565 |  |  | 12.5 | 2354 | OCL 639 | Open Cluster | 6.5
[8 empty] | M92 | NGC 6341 |  | 6.4 | NGC 6563 |  |  | 12.5 | 2355 | NGC 2356 | Open Cluster | 10
[8 empty] | M93 | NGC 2447 | Critter, Butterfly Cluster | 6 | NGC 2792 |  |  | 12.5 | 2360 | OCL 589 | Open Cluster | 7.2
[8 empty] | M94 | NGC 4736 | Cat's (Crocodile's) Eye Galaxy | 8.2 | NGC 6852 |  |  | 13 | 2362 | OCL 633 | Cluster Nebulosity | 4.1
[8 empty] | M95 | NGC 3351 |  | 9.7 | IC 289 |  | Heart Planetary | 13 | 2371 | NGC 2372 | Planetary Nebula | 13
[8 empty] | M96 | NGC 3368 |  | 9.2 | NGC 6058 |  | Beach Ball Nebula | 13 | 2372 | NGC 2371 | Planetary Nebula |  | unknown
[8 empty] | M97 | NGC 3587 | Owl Nebula | 9.9 | Sp-1 |  | Fine Ring Nebula | 13 | 2392 | PK 197+17.1 | Planetary Nebula | 10
[8 empty] | M98 | NGC 4192 |  | 10.1 | NGC 6879 |  |  | 13 | 2395 | OCL 502 | Open Cluster | 8
[8 empty] | M99 | NGC 4254 | Coma Pinwheel Galaxy, St. Catherine's Wheel | 9.9 | IC 4673 |  | Babies Foot Nebula | 13 | 2403 | UGC 3918 | Galaxy | 8.4
[8 empty] | M100 | NGC 4321 | Mirror Galaxy | 9.3 | NGC 6842 |  |  | 13 | 2419 | GCL 12 | Globular Cluster | 10.4
[8 empty] | M101 | NGC 5457 | Pinwheel Galaxy | 7.9 |  |  |  |  | 2420 | OCL 488 | Open Cluster | 8.3
[8 empty] | M102 | NGC 5866 | Spindle Galaxy | 9.9 |  |  |  |  | 2421 | OCL 626 | Open Cluster | 8.3
[8 empty] | M103 | NGC 581 |  | 7.4 |  |  |  |  | 2422 | M47 | Open Cluster | 4.4
[8 empty] | M104 | NGC 4594 | Sombrero Galaxy | 8 |  |  |  |  | 2423 | OCL 592 | Open Cluster | 6.7
[8 empty] | M105 | NGC 3379 |  | 9.3 |  |  |  |  | 2438 | PK 231+4.2 | Planetary Nebula | 10
[8 empty] | M106 | NGC 4258 |  | 8.4 |  |  |  |  | 2440 | PK 234+2.1 | Planetary Nebula | 11
[8 empty] | M107 | NGC 6171 | Crucifix Cluster | 7.9 |  |  |  |  | 2479 | OCL 623 | Open Cluster | 10
[8 empty] | M108 | NGC 3556 | Surfboard Galaxy | 10 |  |  |  |  | 2482 | OCL 653 | Open Cluster | 7.3
[8 empty] | M109 | NGC 3992 | Vacuum Cleaner Galaxy | 9.8 |  |  |  |  | 2489 | OCL 690 | Open Cluster | 7.9
[8 empty] | M110 | NGC 205 | Edward Young Star (Satellite of M31) | 8.5 |  |  |  |  | 2506 | OCL 593 | Open Cluster | 7.6
[16 empty] | 2509 | OCL 630 | Open Cluster | 9
[16 empty] | 2527 | NGC 2520 | Open Cluster | 6.5
[16 empty] | 2539 | OCL 611 | Open Cluster | 6.5
[16 empty] | 2548 | M48 | Open Cluster | 5.8
[16 empty] | 2567 | OCL 708 | Open Cluster | 7.4
[16 empty] | 2571 | OCL 701 | Open Cluster | 7
[16 empty] | 2613 | ESO 495-18 | Galaxy | 10.4
[16 empty] | 2627 | OCL 714 | Open Cluster | 8
[16 empty] | 2655 | UGC 4637 | Galaxy | 10.1
[16 empty] | 2681 | UGC 4645 | Galaxy | 10.3
[16 empty] | 2683 | UGC 4641 | Galaxy | 9.7
[16 empty] | 2742 | NGC 2816 | Galaxy | 11.7
[16 empty] | 2768 | UGC 4821 | Galaxy | 10
[16 empty] | 2775 | UGC 4820 | Galaxy | 10.3
[16 empty] | 2782 | UGC 4862 | Galaxy | 11.5
[16 empty] | 2787 | UGC 4914 | Galaxy | 10.8
[16 empty] | 2811 | MCG 3-24-3 | Galaxy | 11.3
[16 empty] | 2841 | UGC 4966 | Galaxy | 9.3
[16 empty] | 2859 | UGC 5001 | Galaxy | 10.7
[16 empty] | 2903 | UGC 5079 | Galaxy | 8.9
[16 empty] | 2950 | UGC 5176 | Galaxy | 11
[16 empty] | 2964 | UGC 5183 | Galaxy | 11.3
[16 empty] | 2974 | MCG 0-25-8 | Galaxy | 10.8
[16 empty] | 2976 | UGC 5221 | Galaxy | 10.2
[16 empty] | 2985 | UGC 5253 | Galaxy | 10.5
[16 empty] | 3034 | M82 | Galaxy | 8.4
[16 empty] | 3077 | UGC 5398 | Galaxy | 9.9
[16 empty] | 3079 | UGC 5387 | Galaxy | 10.6
[16 empty] | 3115 | MCG 1-26-18 | Galaxy | 9.2
[16 empty] | 3147 | UGC 5532 | Galaxy | 10.7
[16 empty] | 3166 | UGC 5516 | Galaxy | 10.6
[16 empty] | 3169 | UGC 5525 | Galaxy | 10.5
[16 empty] | 3184 | UGC 5557 | Galaxy | 9.8
[16 empty] | 3190 | UGC 5559 | Galaxy | 11
[16 empty] | 3193 | UGC 5562 | Galaxy | 10.9
[16 empty] | 3198 | UGC 5572 | Galaxy | 10.4
[16 empty] | 3226 | UGC 5617 | Galaxy | 11.4
[16 empty] | 3227 | UGC 5620 | Galaxy | 10.8
[16 empty] | 3242 | PK 261+32.1 | Planetary Nebula | 9
[16 empty] | 3245 | UGC 5663 | Galaxy | 10.8
[16 empty] | 3277 | UGC 5731 | Galaxy | 11.7
[16 empty] | 3294 | UGC 5753 | Galaxy | 11.7
[16 empty] | 3310 | UGC 5786 | Galaxy | 10.9
[16 empty] | 3344 | UGC 5840 | Galaxy | 10
[16 empty] | 3377 | UGC 5899 | Galaxy | 10.2
[16 empty] | 3379 | M105 | Galaxy | 9.3
[16 empty] | 3384 | NGC 3371 | Galaxy | 10
[16 empty] | 3395 | UGC 5931 | Galaxy | 12.1
[16 empty] | 3412 | UGC 5952 | Galaxy | 10.6
[16 empty] | 3414 | UGC 5959 | Galaxy | 10.8
[16 empty] | 3432 | UGC 5986 | Galaxy | 11.3
[16 empty] | 3486 | UGC 6079 | Galaxy | 10.3
[16 empty] | 3489 | UGC 6082 | Galaxy | 10.3
[16 empty] | 3504 | UGC 6118 | Galaxy | 11.1
[16 empty] | 3521 | UGC 6150 | Galaxy | 8.9
[16 empty] | 3556 | M108 | Galaxy | 10.1
[16 empty] | 3593 | UGC 6272 | Galaxy | 11
[16 empty] | 3607 | UGC 6297 | Galaxy | 10
[16 empty] | 3608 | UGC 6299 | Galaxy | 11
[16 empty] | 3610 | UGC 6319 | Galaxy | 10.8
[16 empty] | 3613 | UGC 6323 | Galaxy | 12
[16 empty] | 3619 | UGC 6330 | Galaxy | 13
[16 empty] | 3621 | ESO 377-37 | Galaxy | 10
[16 empty] | 3626 | NGC 3632 | Galaxy | 10.9
[16 empty] | 3628 | UGC 6350 | Galaxy | 9.5
[16 empty] | 3631 | UGC 6360 | Galaxy | 10.4
[16 empty] | 3640 | UGC 6368 | Galaxy | 10.3
[16 empty] | 3655 | UGC 6396 | Galaxy | 11.6
[16 empty] | 3665 | UGC 6426 | Galaxy | 10.8
[16 empty] | 3675 | UGC 6439 | Galaxy | 11
[16 empty] | 3686 | UGC 6460 | Galaxy | 11.4
[16 empty] | 3726 | UGC 6537 | Galaxy | 10.4
[16 empty] | 3729 | UGC 6547 | Galaxy | 11.4
[16 empty] | 3810 | UGC 6644 | Galaxy | 10.8
[16 empty] | 3813 | UGC 6651 | Galaxy | 11.7
[16 empty] | 3877 | UGC 6745 | Galaxy | 12
[16 empty] | 3893 | UGC 6778 | Galaxy | 11
[16 empty] | 3898 | UGC 6787 | Galaxy | 10.8
[16 empty] | 3900 | UGC 6786 | Galaxy | 11.4
[16 empty] | 3912 | NGC 3899 | Galaxy | 13
[16 empty] | 3938 | UGC 6856 | Galaxy | 10.4
[16 empty] | 3941 | UGC 6857 | Galaxy | 11
[16 empty] | 3945 | UGC 6860 | Galaxy | 10.6
[16 empty] | 3949 | UGC 6869 | Galaxy | 11
[16 empty] | 3953 | UGC 6870 | Galaxy | 10.1
[16 empty] | 3962 | MCG 2-30-40 | Galaxy | 10.6
[16 empty] | 3982 | UGC 6918 | Galaxy | 12
[16 empty] | 3992 | M109 | Galaxy | 9.8
[16 empty] | 3998 | UGC 6946 | Galaxy | 10.6
[16 empty] | 4026 | UGC 6985 | Galaxy | 12
[16 empty] | 4027 | ESO 572-37 | Galaxy | 11.1
[16 empty] | 4030 | UGC 6993 | Galaxy | 12
[16 empty] | 4036 | UGC 7005 | Galaxy | 10.6
[16 empty] | 4038 | ESO 572-47 | Galaxy | 10.7
[16 empty] | 4041 | UGC 7014 | Galaxy | 11.1
[16 empty] | 4051 | UGC 7030 | Galaxy | 10.3
[16 empty] | 4085 | UGC 7075 | Galaxy | 12.3
[16 empty] | 4088 | UGC 7081 | Galaxy | 10.5
[16 empty] | 4102 | UGC 7096 | Galaxy | 12
[16 empty] | 4111 | UGC 7103 | Galaxy | 10.8
[16 empty] | 4143 | UGC 7142 | Galaxy | 12
[16 empty] | 4147 | NGC 4153 | Globular Cluster | 10.3
[16 empty] | 4150 | UGC 7165 | Galaxy | 11.7
[16 empty] | 4151 | UGC 7166 | Galaxy | 10.4
[16 empty] | 4179 | UGC 7214 | Galaxy | 10.9
[16 empty] | 4203 | UGC 7256 | Galaxy | 10.7
[16 empty] | 4214 | NGC 4228 | Galaxy | 9.7
[16 empty] | 4216 | UGC 7284 | Galaxy | 10
[16 empty] | 4245 | UGC 7328 | Galaxy | 11.4
[16 empty] | 4251 | UGC 7338 | Galaxy | 12
[16 empty] | 4258 | M106 | Galaxy | 8.3
[16 empty] | 4261 | UGC 7360 | Galaxy | 10.3
[16 empty] | 4273 | UGC 7380 | Galaxy | 11.9
[16 empty] | 4274 | UGC 7377 | Galaxy | 10.4
[16 empty] | 4278 | UGC 7386 | Galaxy | 10.2
[16 empty] | 4281 | UGC 7389 | Galaxy | 11.3
[16 empty] | 4293 | UGC 7405 | Galaxy | 11
[16 empty] | 4303 | M61 | Galaxy | 9.7
[16 empty] | 4314 | UGC 7443 | Galaxy | 10.5
[16 empty] | 4346 | UGC 7463 | Galaxy | 12
[16 empty] | 4350 | UGC 7473 | Galaxy | 11.1
[16 empty] | 4361 | ESO 573-PN19 | Planetary Nebula | 10
[16 empty] | 4365 | UGC 7488 | Galaxy | 11
[16 empty] | 4371 | UGC 7493 | Galaxy | 10.8
[16 empty] | 4394 | UGC 7523 | Galaxy | 10.9
[16 empty] | 4414 | UGC 7539 | Galaxy | 10.3
[16 empty] | 4419 | UGC 7551 | Galaxy | 11.1
[16 empty] | 4429 | UGC 7568 | Galaxy | 10.2
[16 empty] | 4435 | UGC 7575 | Galaxy | 10.9
[16 empty] | 4438 | UGC 7574 | Galaxy | 10.1
[16 empty] | 4442 | UGC 7583 | Galaxy | 10.5
[16 empty] | 4448 | UGC 7591 | Galaxy | 11.1
[16 empty] | 4449 | UGC 7592 | Galaxy | 9.4
[16 empty] | 4450 | UGC 7594 | Galaxy | 10.1
[16 empty] | 4459 | UGC 7614 | Galaxy | 10.4
[16 empty] | 4473 | UGC 7631 | Galaxy | 10.2
[16 empty] | 4477 | UGC 7638 | Galaxy | 10.4
[16 empty] | 4478 | UGC 7645 | Galaxy | 11.2
[16 empty] | 4485 | UGC 7648 | Galaxy | 12
[16 empty] | 4490 | UGC 7651 | Galaxy | 9.8
[16 empty] | 4494 | UGC 7662 | Galaxy | 9.9
[16 empty] | 4526 | NGC 4560 | Galaxy | 9.6
[16 empty] | 4527 | UGC 7721 | Galaxy | 10.4
[16 empty] | 4535 | UGC 7727 | Galaxy | 9.8
[16 empty] | 4536 | UGC 7732 | Galaxy | 10.4
[16 empty] | 4546 | MCG 1-32-27 | Galaxy | 10.3
[16 empty] | 4548 | M91 | Galaxy | 10.2
[16 empty] | 4550 | UGC 7757 | Galaxy | 11.6
[16 empty] | 4559 | UGC 7766 | Galaxy | 9.9
[16 empty] | 4565 | UGC 7772 | Galaxy | 9.6
[16 empty] | 4570 | UGC 7785 | Galaxy | 10.9
[16 empty] | 4594 | M104 | Galaxy | 8.3
[16 empty] | 4596 | UGC 7828 | Galaxy | 10.5
[16 empty] | 4618 | IC 3667 | Galaxy | 10.8
[16 empty] | 4631 | UGC 7865 | Galaxy | 9.3
[16 empty] | 4636 | NGC 4624? | Galaxy | 9.6
[16 empty] | 4643 | UGC 7895 | Galaxy | 10.6
[16 empty] | 4654 | IC 3708 | Galaxy | 10.5
[16 empty] | 4656 | UGC 7907 | Galaxy | 10.4
[16 empty] | 4660 | UGC 7914 | Galaxy | 11
[16 empty] | 4665 | NGC 4624 | Galaxy | 12
[16 empty] | 4666 | UGC 7926 | Galaxy | 10.8
[16 empty] | 4689 | UGC 7965 | Galaxy | 10.9
[16 empty] | 4697 | MCG 1-33-10 | Galaxy | 9.3
[16 empty] | 4698 | UGC 7970 | Galaxy | 10.7
[16 empty] | 4699 | MCG 1-33-13 | Galaxy | 9.6
[16 empty] | 4725 | UGC 7989 | Galaxy | 9.2
[16 empty] | 4753 | UGC 8009 | Galaxy | 9.9
[16 empty] | 4754 | UGC 8010 | Galaxy | 10.6
[16 empty] | 4762 | UGC 8016 | Galaxy | 10.2
[16 empty] | 4781 | MCG 2-33-49 | Galaxy | 12
[16 empty] | 4800 | UGC 8035 | Galaxy | 12
[16 empty] | 4845 | UGC 8078 | Galaxy | 12
[16 empty] | 4856 | MCG 2-33-78 | Galaxy | 10.4
[16 empty] | 4866 | UGC 8102 | Galaxy | 11
[16 empty] | 4900 | UGC 8116 | Galaxy | 11.5
[16 empty] | 4958 | MCG 1-33-84 | Galaxy | 10.5
[16 empty] | 4995 | MCG 1-34-7 | Galaxy | 11
[16 empty] | 5005 | UGC 8256 | Galaxy | 9.8
[16 empty] | 5033 | UGC 8307 | Galaxy | 10.1
[16 empty] | 5054 | MCG 3-34-39 | Galaxy | 11
[16 empty] | 5195 | UGC 8494 | Galaxy | 9.6
[16 empty] | 5248 | UGC 8616 | Galaxy | 10.2
[16 empty] | 5273 | UGC 8675 | Galaxy | 11.6
[16 empty] | 5322 | UGC 8745 | Galaxy | 10
[16 empty] | 5363 | UGC 8847 | Galaxy | 10.2
[16 empty] | 5364 | NGC 5317 | Galaxy | 10.4
[16 empty] | 5466 | GCL 27 | Globular Cluster | 9.1
[16 empty] | 5473 | UGC 9011 | Galaxy | 11.4
[16 empty] | 5474 | UGC 9013 | Galaxy | 10.9
[16 empty] | 5557 | UGC 9161 | Galaxy | 11.1
[16 empty] | 5566 | UGC 9175 | Galaxy | 10.5
[16 empty] | 5576 | UGC 9183 | Galaxy | 10.9
[16 empty] | 5631 | UGC 9261 | Galaxy | 13
[16 empty] | 5634 | GCL 28 | Globular Cluster | 9.6
[16 empty] | 5676 | UGC 9366 | Galaxy | 10.9
[16 empty] | 5689 | UGC 9399 | Galaxy | 11.9
[16 empty] | 5694 | GCL 29 | Globular Cluster | 10.2
[16 empty] | 5746 | UGC 9499 | Galaxy | 10.6
[16 empty] | 5846 | UGC 9706 | Galaxy | 10.2
[16 empty] | 5866 | M102 | Galaxy | 10
[16 empty] | 5897 | GCL 33 | Globular Cluster | 8.6
[16 empty] | 5907 | NGC 5906 | Galaxy | 10.4
[16 empty] | 5982 | UGC 9961 | Galaxy | 11.1
[16 empty] | 6118 | UGC 10350 | Galaxy | 12
[16 empty] | 6144 | GCL 42 | Globular Cluster | 9.1
[16 empty] | 6171 | M107 | Globular Cluster | 8.1
[16 empty] | 6207 | UGC 10521 | Galaxy | 11.6
[16 empty] | 6217 | UGC 10470 | Galaxy | 11.2
[16 empty] | 6229 | GCL 47 | Globular Cluster | 9.4
[16 empty] | 6235 | GCL 48 | Globular Cluster | 10.2
[16 empty] | 6284 | GCL 53 | Globular Cluster | 9
[16 empty] | 6287 | GCL 54 | Globular Cluster | 9.2
[16 empty] | 6293 | GCL 55 | Globular Cluster | 8.2
[16 empty] | 6304 | GCL 56 | Globular Cluster | 8.4
[16 empty] | 6316 | GCL 57 | Globular Cluster | 9
[16 empty] | 6342 | GCL 61 | Globular Cluster | 9.9
[16 empty] | 6355 | GCL 63 | Globular Cluster | 9.6
[16 empty] | 6356 | GCL 62 | Globular Cluster | 8.4
[16 empty] | 6369 | PK 2+5.1;H IV 11 | Planetary Nebula | 13
[16 empty] | 6401 | GCL 73 | Globular Cluster | 9.5
[16 empty] | 6426 | GCL 76 | Globular Cluster | 11.2
[16 empty] | 6440 | GCL 77 | Globular Cluster | 9.7
[16 empty] | 6445 | PK 8+3.1;H II 586 | Planetary Nebula | 13
[16 empty] | 6451 | OCL 1035 | Open Cluster | 8
[16 empty] | 6514 | M20 | Cluster Nebulosity | 6.3
[16 empty] | 6517 | GCL 81 | Globular Cluster | 10.3
[16 empty] | 6520 | OCL 10 | Open Cluster | 8
[16 empty] | 6522 | GCL 82 | Globular Cluster | 8.6
[16 empty] | 6528 | GCL 84 | Globular Cluster | 9.5
[16 empty] | 6540 |  | Open Cluster | 15
[16 empty] | 6543 | PK 96+29.1 | Planetary Nebula | 9
[16 empty] | 6544 | GCL 87 | Globular Cluster | 8.3
[16 empty] | 6553 | GCL 88 | Globular Cluster | 8.3
[16 empty] | 6568 | OCL 28 | Open Cluster | 9
[16 empty] | 6569 | GCL 91 | Globular Cluster | 8.7
[16 empty] | 6583 | OCL 27 | Open Cluster | 10
[16 empty] | 6624 | GCL 93 | Globular Cluster | 8.3
[16 empty] | 6629 | PK 9-5.1;H II 204 | Planetary Nebula | 12
[16 empty] | 6633 | OCL 90 | Open Cluster | 4.6
[16 empty] | 6638 | GCL 95 | Globular Cluster | 9.2
[16 empty] | 6642 | GCL 97 | Globular Cluster | 8.8
[16 empty] | 6645 | OCL 48 | Open Cluster | 9
[16 empty] | 6664 | OCL 68 | Open Cluster | 7.8
[16 empty] | 6712 | GCL 103 | Globular Cluster | 8.2
[16 empty] | 6755 | OCL 96 | Open Cluster | 7.5
[16 empty] | 6756 | OCL 99 | Open Cluster | 11
[16 empty] | 6781 | PK 41-2.1 | Planetary Nebula | 12
[16 empty] | 6802 | OCL 114 | Open Cluster | 8.8
[16 empty] | 6818 | PK 25-17.1 | Planetary Nebula | 10
[16 empty] | 6823 | OCL 124 | Open Cluster | 7.1
[16 empty] | 6826 | PK 83+12.1 | Planetary Nebula | 10
[16 empty] | 6830 | OCL 125 | Open Cluster | 7.9
[16 empty] | 6834 | OCL 134 | Open Cluster | 7.8
[16 empty] | 6866 | OCL 183 | Open Cluster | 7.6
[16 empty] | 6882 |  | Open Cluster | 8.1
[16 empty] | 6885 | OCL 152 | Open Cluster | 6
[16 empty] | 6905 | PK 61-9.1;H IV 16 | Planetary Nebula | 12
[16 empty] | 6910 | OCL 181 | Open Cluster | 7.4
[16 empty] | 6934 | GCL 117 | Globular Cluster | 8.9
[16 empty] | 6939 | OCL 217 | Open Cluster | 7.8
[16 empty] | 6940 | OCL 141 | Open Cluster | 6.3
[16 empty] | 6946 | UGC 11597 | Galaxy | 8.9
[16 empty] | 7000 | LBN 373 | Nebula | 0
[16 empty] | 7006 | GCL 119 | Globular Cluster | 10.6
[16 empty] | 7008 | PK 93+5.2 | Planetary Nebula | 13
[16 empty] | 7009 | PK 37-34.1 | Planetary Nebula | 8
[16 empty] | 7044 | OCL 198 | Open Cluster | 11
[16 empty] | 7062 | OCL 205 | Open Cluster | 8.3
[16 empty] | 7086 | OCL 214 | Open Cluster | 8.4
[16 empty] | 7128 | OCL 218 | Open Cluster | 9.7
[16 empty] | 7142 | OCL 241 | Open Cluster | 9.3
[16 empty] | 7160 | OCL 236 | Open Cluster | 6.1
[16 empty] | 7209 | OCL 215 | Open Cluster | 6.7
[16 empty] | 7217 | UGC 11914 | Galaxy | 10.2
[16 empty] | 7243 | OCL 221 | Open Cluster | 6.4
[16 empty] | 7296 | OCL 228 | Open Cluster | 10
[16 empty] | 7331 | UGC 12113 | Galaxy | 9.5
[16 empty] | 7380 | OCL 244 | Cluster Nebulosity | 7.2
[16 empty] | 7448 | UGC 12294 | Galaxy | 11.7
[16 empty] | 7479 | UGC 12343 | Galaxy | 11
[16 empty] | 7510 | OCL 256 | Open Cluster | 7.9
[16 empty] | 7606 | MCG 2-59-12 | Galaxy | 10.8
[16 empty] | 7662 | PK 106-17.1 | Planetary Nebula | 9
[16 empty] | 7686 | OCL 251 | Open Cluster | 5.6
[16 empty] | 7723 | MCG 2-60-5 | Galaxy | 11.1
[16 empty] | 7727 | MCG 2-60-8 | Galaxy | 10.7
[16 empty] | 7789 | OCL 269 | Open Cluster | 6.7
[16 empty] | 7790 | OCL 276 | Open Cluster | 8.5
[16 empty] | 7814 | UGC 8 | Galaxy | 10.5